## Appendix E – Nowcasting 2024/25 retrofit demand from the 2017/18 Welsh Housing Conditions Survey

This technical appendix outlines the specific methodology through which microdata from the Welsh Housing Conditions Survey (WHCS) are analysed to generate an estimate of the number of households requiring each specified retrofit measure. This overview provides additional detail on top of the methodology outlined within the main report and is to be treated as supplementary to the wider report.

Analysis of the WHCS yields a total number of households that require at least one retrofit measure, as well the proportion of households that require each particular measure (note – since many households require more than one retrofit, the sum of the proportions across all retrofit measures is greater than one). A detailed list of retrofit measures assessed under this methodology is outlined within the wider report. A notable flag here is that the share of households requiring roof insulation or low energy lighting installation could not be assessed through the microdata. As such, these proportions had to be obtained directly from the publicly available WHCS 2017/18 tables.

The Second All Wales Low Carbon Delivery Plan, published in 2021, outlined an expectation that 148,000 houses would receive retrofit measures by 2025. Given the lack of explicit data on the number of homes that have received retrofit measures since 2017/18, this number was used as a conservative baseline for the nowcasting process. The 148,000 was then apportioned across all measures according to the proportion of homes requiring each retrofit measure, generating estimates for total installations by measure between 2017/18 and 2024/25 (inclusive). Resultantly, we were able to derive estimates of the number of retrofit measures required from 2025/26 onwards. A key assumption in this process is that, amongst households that require retrofit installations, the shares for each required installation remain constant between 2017/18 and 2024/25. Across all measures evaluated, the derived installation estimates are cross-checked against existing data where possible, while also accounting for the potential of additional activity from the private sector on top of installations through government programmes.

The notable exception here is heat pumps. As of 2017/18, the share of households requiring heat pump installations is elevated due to structural barriers associated with the uptake of a newer technology. As such, the outlined apportionment exercise does not work for heat pumps, as it would overestimate the number of installations delivered in this time period. This is supported by comparison to outturn installation data. Comprehensive installation data between 2017/18 and 2024/25 is available for heat pumps from the MCS dashboard. In this instance, installations over the time period for heat pumps specifically could be input directly to the model, reflecting outturn installations till 2024/25 and also YTD figures for 2025/26.